## B3 Guidelines Checklist
This document is intended to support project teams in the completion of their Tracking Tool file at trackingtool.b3mn.org. Note that use of this checklist does not replace any of the required tracking of the B3 Program.
Project Name: | [5 empty] | Key:
Project Location: | [5 empty] | Required
Current Phase: | [5 empty] | Optional
Phase State: | [5 empty] | Blank
Y | ? | N | GUIDELINE |  | RESPONSIBLE ROLE | PERSON | AP | PP | PS | SD | DD | CD | CA | CP
PERFORMANCE MANAGEMENT
|  |  | P.0 | GUIDELINE MANAGEMENT PROCESS
|  |  | P0A | Guideline Management Process | Guideline Operations Leader
|  |  | P0B | Variance Process | Guideline Operations Leader | bar: SD
|  |  | P0C | Share the project Story / apply for recognition | Guideline Operations Leader
|  |  | P0D | Maintain Project Archive | Guideline Operations Leader
|  |  | P.1 | GENERAL PROJECT DATA
|  |  | P1A | Building occupancy | Architectural Leader | bar: SD; CD
|  |  | P1B | Project Budget (Estimated Construction Cost) | Guideline Operations Leader | bar: AP; SD; CD
|  |  | P1C | Property / Site Data | Architectural Leader | bar: SD; CD
|  |  | P1D | Building Data | Architectural Leader | bar: PP; SD; CD
|  |  | P1L | Schedule | Guideline Operations Leader
|  |  | P.2 | PLANNING FOR CONSERVATION
|  |  | P2A | Evaluate assumptions to build, expand, or remodel | Architectural Leader | bar: AP to PP; SD
|  |  | P.3 | INTEGRATED DESIGN PROCESS
|  |  | P3A | Conduct kick-off meeting | Guideline Operations Leader | bar: SD
|  |  | P3B | Integrated Design Process Documentation | Guideline Operations Leader | bar: SD; CD; CP
|  |  | P3C | Assemble appropriate stakeholder team | Guideline Operations Leader
|  |  | P3D | Conduct planning / review workshops at key phases | Guideline Operations Leader
|  |  | P.4 | DESIGN AND CONSTRUCTION COMMISSIONING
|  |  | P4A | Verify that commissioning budget is adequate to fulfill commissioning requirements | Agency Contact | bar: AP to PP; SD
|  |  | P4B | Verify design is compatible with Operations Commissioning Plan | Design/Conts. Commiss. Leader | bar: DD to CD
|  |  | P4C | Use Agency Commissioning Process or Appendix P-4a | Design/Conts. Commiss. Leader | bar: PP to CP
|  |  | P4D | Scope all items to be commissioned | Design/Conts. Commiss. Leader | bar: PP to CP
|  |  | P4E | Scope: plumbing, interior materials, envelope, acoustics | Design/Conts. Commiss. Leader
|  |  | P.5 | OPERATIONS COMMISSIONING
|  |  | P5A | Develop Operations Management Plan | Operations Commissioning Leader | bar: PS; DD to CA
|  |  | P5B | Implement Operations and Maintenance Practices | Operations Commissioning Leader | bar: CA
|  |  | P5C | P5C Conduct Two Post-Occupancy Evaluations of the Project (for Supported Building Types) | Agency Contact | bar: CD; CP
|  |  | P5D | Additional Operations Management Plan for Select Building Performance Issues | Operations Commissioning Leader
|  |  | P5F | Reserve 0.25% of Construction Cost for Meeting SB 2030 Energy Standard During Operations | Agency Contact
|  |  | P.6 | LOWEST LIFE CYCLE COST
|  |  | P6A | Perform life cycle cost analysis on energy scenarios | Energy Leader
|  |  | P6B | Perform additional life cycle cost analysis | Energy Leader
SITE AND WATER
|  |  | S.1 | IDENTIFICATION AND AVOIDANCE OF CRITICAL SITES
|  |  | S1A | Avoid land within 150 ft of Biologically/Ecologically Significant Land | Landscape Leader | bar: PS to SD; CD
|  |  | S1B | Avoid prime farm land | Landscape Leader | bar: PS to SD; CD
|  |  | S1C | Avoid land within 50 ft of Potential Floodland (<5ft over 100 yr flood level) | Landscape Leader | bar: PS to SD; CD
|  |  | S1D | Avoid land within 300 ft of Habitat for Threatened, Endangered, or Rare Species | Landscape Leader | bar: PS to SD; CD
|  |  | S1E | Avoid using former public parkland | Landscape Leader | bar: PS to SD; CD
|  |  | S1F | Avoid land under conservation easement | Landscape Leader | bar: PS to SD; CD
|  |  | S.2 | STORMWATER MANAGEMENT
|  |  | S2A | Stormwater Runoff Rate and Quantity | Landscape Leader | bar: SD; CD to CA
|  |  | S2B | Runoff Quality | Civil Leader | bar: SD; CD to CA
|  |  | S2C | All stormwater BMPs to have O & M manuals | Landscape Leader | bar: CD to CA
|  |  | S.3 | SOIL MANAGEMENT
|  |  | S3A | Create Soil Management and Erosion Control Plans | Landscape Leader | bar: CD to CA
|  |  | S3B | Maximum Bulk Densities for Seeding and Planting | Landscape Leader | bar: CD to CA
|  |  | S3C | Limit soil disturbance | Landscape Leader | bar: CD to CA
|  |  | S3D | Maintain, establish or enhance a 75 ft. buffer for delineated wetland boundaries | Landscape Leader | bar: CD to CA
|  |  | S3E | Do not sell or export any topsoil from project site | Landscape Leader | bar: CD to CA
|  |  | S3F | Minimum Organic Content | Landscape Leader | bar: CD to CA
|  |  | S3G | Protect all trees as individuals or in groups | Landscape Leader | bar: CD to CA
|  |  | S.4 | SUSTAINABLE VEGETATION DESIGN
|  |  | S4Z | Sustainable Vegetation Design Information | Landscape Leader | bar: SD; CD
|  |  | S4A | Maintain site functions and biodiversity for 50% of site area | Landscape Leader | bar: SD; CD to CA
|  |  | S4B | Use native species for 75% of vegetated area | Landscape Leader | bar: SD; CD to CA
|  |  | S4C | Maintain or supplement tree trunk area on the site | Landscape Leader | bar: SD; CD to CA
|  |  | S4D | If guideline S.1A is not met, implement a protection plan | Landscape Leader | bar: SD; CD to CA
|  |  | S4E | If guideline S.1C is not met, implement a protection plan | Landscape Leader | bar: SD; CD to CA
|  |  | S4F | If guideline S.1D is not met, implement a protection plan | Landscape Leader | bar: SD; CD to CA
|  |  | S4G | Identify and mitigate invasive species | Landscape Leader | bar: SD; CD to CA
|  |  | S4H | Maintain site functions and biodiversity for 90% of site area | Landscape Leader
|  |  | S.5 | LIGHT POLLUTION REDUCTION
|  |  | S5A | Light trespass: Do not exceed specified illuminance values | Electrical Leader | bar: SD; CD to CA
|  |  | S5B | Reduce upward emissions of light with cutoff fixtures | Electrical Leader
|  |  | S5C | Create outdoor lighting control zones and devices | Electrical Leader
|  |  | S5D | Use lamps with color spectrum closer to daylight for safety | Electrical Leader
|  |  | S.6 | EROSION AND SEDIMENTATION CONTROL DURING CONSTRUCTION
|  |  | S6A | Leave no soil open for greater than 48 hours | Landscape Leader | bar: CD to CA
|  |  | S6B | Repair and cover erosion-damaged areas within 6 hours of storm | Landscape Leader | bar: CD to CA
|  |  | S6C | Create a Storm Water Pollution Prevention Plan and submit to appropriate agency | Landscape Leader | bar: CD to CA
|  |  | S6D | Enact a fine structure for all erosion control infractions | Landscape Leader | bar: CD to CA
|  |  | S6E | Identify and protect all downstream (TMDL) impaired waters | Landscape Leader | bar: SD; CD to CA
|  |  | S6F | Limit sediment discharge | Civil Leader | bar: CD to CA
|  |  | S6G | Maintain Temporary Erosion Control | Landscape Leader | bar: CD to CA
|  |  | S.7 | LANDSCAPE WATER EFFICIENCY
|  |  | S7A | Reduce potable water use for irrigation by 50% | Landscape Leader | bar: SD; CD to CP
|  |  | S7B | Reduce potable water use for irrigation by 100% | Landscape Leader
|  |  | S.8 | BUILDING WATER EFFICIENCY
|  |  | S8A | Reduce municipal potable or harvested groundwater use in building by 30% | Mechanical Leader | bar: SD; CD to CP
|  |  | S8B | Reduce municipal potable or harvested groundwater use in building by 50% | Landscape Leader
|  |  | S.9 | APPROPRIATE LOCATION AND DEVELOPMENT PATTERN
|  |  | S9A | Select a site with the most comprehensively positive impact | Planner
|  |  | S9B | Maintain or improve upon site land use type and condition | Planner
|  |  | S9C | Maintain or increase density in urban/suburban locations | Planner
|  |  | S9D | Maintain or increase open space | Planner
|  |  | S9E | Maintain or increase Green Corridors | Planner
|  |  | S.10 | BROWNFIELD REDEVELOPMENT
|  |  | S10A | Redevelop Brownfield sites | Planner
|  |  | S10B | Provide remediation as required | Planner
|  |  | S10C | Develop a site classified as a Brownfield into a Green space | Planner
|  |  | S.11 | HEAT ISLAND REDUCTION
|  |  | S11A | Provide high reflectance paving or shading on 50% of the site hardscape | Landscape Leader
|  |  | S11B | Use high-reflectance roofing OR a green roof | Architectural Leader
|  |  | S.12 | TRANSPORTATION IMPACTS REDUCTION
|  |  | S12A | Locate 1/4 mile from mass transit, retail and public services | Planner
|  |  | S12B | Locate project 1/4 mile from restaurants and service facilities | Planner
|  |  | S12C | Provide securing bicycle storage and changing/shower facilities | Architectural Leader
|  |  | S12D | Install alternative-fuel refueling station(s) | Mechanical Leader
|  |  | S12E | Limit parking area and encourage shared parking with other uses | Landscape Leader
|  |  | S12F | Provide preferred parking for hybrid vehicles, carpools or van pools | Agency Contact
|  |  | S12G | Locate preferred parking, bicycle parking, near building entrances | Landscape Leader
|  |  | S12H | Offer work pattern alternatives such as telecommuting | Agency Contact
|  |  | S12I | Set a company policy to buy carbon emission offsets for air travel | Agency Contact
|  |  | S12J | Offer free or discounted bus or train passes | Agency Contact
|  |  | S12K | Track travel pollution impacts in annual environmental report | Agency Contact
|  |  | S.13 | WASTEWATER MANAGEMENT
|  |  | S13A | Reduce black water entering municipal system by 50% | Mechanical Leader
|  |  | S.14 | BIRD SAFE BUILDING
|  |  | S14A | Traps Threat Factor | Architectural Leader | bar: DD to CA
|  |  | S14B | High Risk Surfaces | Architectural Leader | bar: DD to CA
|  |  | S14C | Whole Building Threat Factor | Architectural Leader | bar: DD to CA
|  |  | S14D | Non-Enclosure Threat Factor | Architectural Leader | bar: DD to CA
|  |  | S14E | Follow "Lights-Out" management program | Guideline Operations Leader | bar: CA to CP
|  |  | S14F | First year building monitoring | Guideline Operations Leader | bar: CA to CP
|  |  | S14G | Enhanced Whole Building Threat Factor | Architectural Leader
|  |  | S14H | Enhanced bird safe building monitoring | Guideline Operations Leader
|  |  | S14I | Bird Safe Building Narrative | Architectural Leader
|  |  | S14J | Bird Safe Lighting Design | Architectural Leader
ENERGY AND ATMOSPHERE
|  |  | E.1 | ENERGY USE
|  |  | E1C | Meet SB 2030 Energy Standards | Energy Leader | bar: PS to CD
|  |  | E1D | Document predicted energy use by type | Energy Leader | bar: SD to CD
|  |  | E.2 | RENEWABLE ENERGY
|  |  | E2A | Evaluate 2% of overall energy demand with on site solar or wind, install if cost effective, provide justification if not installed. | Energy Leader | bar: SD to CA
|  |  | E2B | Provide 10% of energy needs with renewable and cleaner distributed generation systems | Energy Leader
|  |  | E2C | Provide 100% of energy needs with renewable and cleaner distributed generation systems | Energy Leader
|  |  | E2D | Solar-Ready | Energy Leader
|  |  | E.3 | EFFICIENT EQUIPMENT AND APPLIANCES
|  |  | E3A | Select Energy Star equipment and appliances | Energy Leader | bar: CD to CA
|  |  | E.4 | ATMOSPHERIC PROTECTION
|  |  | E4A | Achieve an atmospheric Lifetime (AtL) < 33 | Mechanical Leader
|  |  | E4B | Achieve an Ozone Depletion Potential (ODP) < 0.034 | Mechanical Leader
|  |  | E4C | Achieve a Global Warming Potential (GWP) < 3500 | Mechanical Leader
|  |  | E4D | Design, maintain and operate to reduce refrigerant leakage | Mechanical Leader
INDOOR ENVIRONMENTAL QUALITY
|  |  | I.1 | RESTRICT ENVIRONMENTAL TOBACCO SMOKE
|  |  | I1A | Establish a no smoking policy for the building | Agency Contact | bar: AP
|  |  | I1B | Designate outdoor smoking areas in smoking policy | Agency Contact | bar: AP
|  |  | I1C | Indicate the no smoking building assumption in design documentation | Mechanical Leader | bar: CD
|  |  | I1D | Design smoking and non-smoking areas outside the building | Landscape Leader | bar: CD to CA
|  |  | I.2 | SPECIFY LOW-EMITTING MATERIALS
|  |  | I2A | Comply with limits for indoor air pollutants | Architectural Leader | bar: CD
|  |  | I2B | Comply with Calf. Office Furniture Systems IAQ-VOC requirements | Architectural Leader | bar: CD
|  |  | I.3 | MOISTURE CONTROL
|  |  | I3A | Design the building envelope to resist moisture penetration | Architectural Leader | bar: CD
|  |  | I3B | Keep the indoor dew point below 35ºF(2ºC) during the coldest part of the heating season | Mechanical Leader | bar: CD
|  |  | I3C | Specify moisture content of materials used in construction | Architectural Leader | bar: CD
|  |  | I.4 | VENTILATION DESIGN
|  |  | I4A | Control Radon using source prevention techniques | Architectural Leader | bar: DD to CD; CP
|  |  | I4B | Meet ASHRAE ventilation standard 62.1 a baseline | Mechanical Leader | bar: CD; CP
|  |  | I4C | Monitor CO2 concentrations continuously | Mechanical Leader
|  |  | I4D | Keep CO2 levels below 450 ppm above outdoor concentrations in the breathing zone | Mechanical Leader
|  |  | I.5 | THERMAL COMFORT
|  |  | I5A | Maintain temperature less than 80°F and greater than 64°F (Occupied hours only) | Mechanical Leader | bar: CD; CP
|  |  | I5B | Avoid excessive mean radiant temperature (MRT) asymmetry | Mechanical Leader | bar: CD; CP
|  |  | I5C | Maintain air velocity greater than or equal to 10 fpm | Mechanical Leader | bar: CD; CP
|  |  | I5D | Maintain relative humidity (RH) between 20% and 50% (Occupied hours only) | Mechanical Leader | bar: CD; CP
|  |  | I5E | Keep thermal variables within ASHRAE 55-2004 comfort zones | Mechanical Leader
|  |  | I5F | Vary dry bulb temperature (DBT) via building control system | Mechanical Leader
|  |  | I.6 | QUALITY LIGHTING
|  |  | I6A | Design lighting system with multiple modes | Electrical Leader | bar: DD; CA to CP
|  |  | I6B | Provide work plane illumination of 35 to 50 foot-candles. | Electrical Leader
|  |  | I6C | Consult the IESNA handbook for other recommended light levels | Electrical Leader
|  |  | I6D | Keep contrast ratios to no greater than 10:1 | Electrical Leader
|  |  | I6E | Achieve a Color Rendering Index (CRI) based on IESNA handbook | Electrical Leader
|  |  | I6F | Conduct a point-by-point analysis of horizontal illumination levels | Electrical Leader
|  |  | I6G | Determine lighting system performance characteristics | Electrical Leader
|  |  | I.7 | EFFECTIVE ACOUSTICS AND POSITIVE SOUNDSCAPES
|  |  | I7A | Background noise shall not exceed 70 Dba | Acoustics Leader | bar: DD to CD; CP
|  |  | I7B | Office space shall meet a NC of no greater than NC-50 | Acoustics Leader | bar: DD to CD; CP
|  |  | I7C | Classroom space shall meet an NC of no greater than NC-45 | Acoustics Leader | bar: DD to CD; CP
|  |  | I7D | Reverberation time shall be between 0.2 sec and 0.8 sec. | Acoustics Leader | bar: DD to CD; CP
|  |  | I7E | Articulation Index below 0.20 (open offices) above 0.70 (closed offices) | Acoustics Leader
|  |  | I7F | No greater than NC 45 for continuously occupied spaces | Acoustics Leader
|  |  | I7G | No greater than NC 40 for intermittently-occupied spaces like conference rooms and classrooms | Acoustics Leader
|  |  | I7H | Reverberation times based on professional acoustic judgment | Acoustics Leader
|  |  | I.8 | REDUCE VIBRATION IN BUILDINGS
|  |  | I8A | For steel structures, follow AISC Design Guide 11 | Structural Leader | bar: DD; CA
|  |  | I8B | For Steel Joists, follow SJI Technical Digest #5 | Structural Leader | bar: DD; CA
|  |  | I8C | For Wood/Concrete: Live Load Deflect: L/480, Total Deflect: L/360 | Structural Leader | bar: DD; CA
|  |  | I8D | Do not construct floors using bar joists | Structural Leader
|  |  | I8E | Return period in top third of high rise not less than 6 years | Structural Leader
|  |  | I8F | Floor vibration above Splittgerber Minimum Complaint Level | Structural Leader
|  |  | I8G | Extend Item F design criteria (Splittgerber) to all intermittently occupied spaces (excluding storage spaces, etc) | Structural Leader
|  |  | I.9 | DAYLIGHT
|  |  | I9A | Provide minimum daylight factor of 1% in 75% of floor area | Architectural Leader | bar: SD to DD
|  |  | I9B | Do not exceed uniformity ratio of 10:1 in over 15% of floor area | Architectural Leader | bar: SD to DD
|  |  | I9C | Control direct solar penetration with shading devices | Architectural Leader | bar: DD to CD
|  |  | I9D | Use daylight controls to turn off or dim the electric lights | Architectural Leader | bar: DD to CD
|  |  | I.10 | VIEW SPACE AND WINDOW ACCESS
|  |  | I10A | Provide visual access to exterior window | Architectural Leader
|  |  | I10B | Provide view space as specified from seated position | Architectural Leader
|  |  | I10C | Provide high performance view content | Architectural Leader
|  |  | I.11 | PERSONAL CONTROL OF IEQ CONDITIONS & IMPACTS
|  |  | I11A | Provide adjustable task lighting | Electrical Leader
|  |  | I11B | Provide means of alleviating direct solar gain | Architectural Leader
|  |  | I11C | Provide means of mitigating noise, drafts or low air circulation | Mechanical Leader
|  |  | I11D | Provide means of alleviating building control malfunctions | Mechanical Leader
|  |  | I11E | Provide access to operable windows | Architectural Leader
|  |  | I11F | Limit neck extension and head rotation for viewing monitors | Architectural Leader
|  |  | I11G | Provide ergonomically comfortable keyboard | Architectural Leader
|  |  | I11H | Provide ergonomically adjustable and movable furniture elements | Architectural Leader
|  |  | I11I | Use tools to improve flexibility and habitability of workspace | Architectural Leader
|  |  | I.12 | ENCOURAGE HEALTHFUL PHYSICAL ACTIVITY
|  |  | I12A | Provide an 'open' or 'enhanced' stair design | Architectural Leader
|  |  | I12B | Encourage staff to walk to building service centers | Architectural Leader
|  |  | I12C | Design circulation paths to encourage staff interaction | Architectural Leader
|  |  | I12D | Include design amenities to encourage stair use | Architectural Leader
MATERIALS AND WASTE
|  |  | M.1 | LIFE CYCLE ASSESSMENT OF BUILDING ASSEMBLIES
|  |  | M1A | Meet LCA Benchmark for total assemblies GWP (Global Warming Potential) | Architectural Leader | bar: SD to DD
|  |  | M1B | Conduct LCA on additional materials using BEES | Architectural Leader
|  |  | M.2 | ENVIRONMENTALLY PREFERABLE MATERIALS
|  |  | M2A | Use Salvaged, Recycled or Reused Materials | Architectural Leader | bar: DD to CD
|  |  | M2B | Use renewable, bio-based materials | Architectural Leader | bar: DD to CD
|  |  | M2C | Use materials with appropriate durability | Architectural Leader | bar: DD to CD
|  |  | M2D | Use local materials | Architectural Leader
|  |  | M2E | Use reusable, recyclable, or biodegradable materials | Architectural Leader
|  |  | M.3 | WASTE REDUCTION AND MANAGEMENT
|  |  | M3A | Minimize waste through detailing and specs | Architectural Leader | bar: CD
|  |  | M3B | Divert 75% construction and demolition waste from landfill | Architectural Leader | bar: CD to CA
|  |  | M3C | Reduce and recycle waste generated during building operation | Architectural Leader | bar: CD; CP
|  |  | M3D | Divert an additional 15% (90% total) construction waste | Architectural Leader
|  |  | M3E | Reuse or return 50% of all packaging material | Architectural Leader

## Role drop down list
Acoustics Leader
Agency Contact
Architectural Leader
Civil Leader
Design/Conts. Commiss. Leader
Electrical Leader
Energy Leader
Guideline Leader
Landscape Leader
Mechanical Leader
Operations Commissioning Leader
Owner
Planner
Structural Leader
Interior Design Leader
Facilities Operations Manager
Guideline Operations Leader
Agency Operations Contact
SB 2030 Approver
Project Observer
Facility Operations Manager