## Sheet1
LEED™ |  | MSBG (B3) STATUS (see Note 1)
Sustainable Sites
Prereq 1 | Erosion and Sedimentation Control | Required
Credit 1 | Site Selection | Required *
Credit 2 | Appropriate Location and Density | Recommended
Credit 3 | Brownfield Redevelopment | Recommended
Credit 4 | Alternative Transportation | Recommended
Credit 5 | Reduced Site Disturbance | Required *
Credit 6 | Stormwater Management | Required *
Credit 7 | Landscape and Exterior Design to Reduce Heat Islands | Recommended
Credit 8 | Light Pollution Reduction | Required
* Local standards
Water Efficiency
Credit 1.1 | Water Efficient Landscaping - 50% | Required
Credit 1.2 | Water Efficient Landscaping - 100% | Required
Credit 2 | Innovative Wastewater Technologies | Recommended
Credit 3.1 | Water Use Reduction - 20% | Required
Credit 3.2 | Water Use Reduction - 30% | Required
Energy & Atmosphere
Prereq 1 | Fundamental Commissioning | Required
Prereq 2 | Minimum Energy Performance | Required
Prereq 3 | CFC Reduction | Recommended
Credit 1.1 | Optimize Energy - Reduce 20% | Required
Credit 1.2 | Optimize Energy - Reduce 30% | Required *
Credit 1.3 | Optimize Energy - Reduce 40% | Recommended
Credit 1.4 | Optimize Energy - Reduce 50% | Recommended
Credit 1.5 | Optimize Energy - Reduce 60% | Recommended
Credit 2 | Renewable Energy - 5% to 20% | Evaluate
Credit 3 | Additional Commissioning | Required
Credit 4 | Ozone Depletion | Recommended **
Credit 5 | Measurement and Verification | Required
Credit 6 | Green Power | Evaluate
* Different code
** Different method
Materials & Resources
Prereq 1 | Storage and Collection of Recyclables | Required
Credit 1 | Building Reuse | Evaluate
Credit 2.1 | Construction Waste Management - 50% | Required
Credit 2.2 | Construction Waste Management - 100% | Required
Credit 3 | Resource Reuse | Evaluate
Credit 4 | Recycled Content | Evaluate
Credit 5 | Local/Regional Materials | Evaluate
Credit 6 | Rapidly Renewable Materials | Evaluate
Credit 7 | Certified Wood | Evaluate
Indoor Environmental Quality
Prereq 1 | Minimum IAQ Performance | Required
Prereq 2 | Environmental Tobacco Smoke Control | Required
Credit 1 | Carbon Dioxide Monitoring | Recommended
Credit 2 | Ventilation Effectiveness | Required
Credit 3 | Construction IAQ Management Plan | Required
Credit 4 | Low-Emitting Materials | Required *
Credit 5 | Indoor Pollutant Source Control | Required
Credit 6 | Controllability of Systems | Recommended
Credit 7.1 | Thermal Comfort - Standard 55 | Required
Credit 7.1 | Thermal Comfort - Monitoring | Recommended
Credit 8.1 | Daylight 75% of Spaces | Recommended **
Credit 8.2 | Views for 90% of Spaces | Recommended **
* Higher standard
** Different method
Innovation & Design Process
Credit 1.1 | Innovation in Design
Credit 1.2 | Innovation in Design
Credit 1.3 | Innovation in Design
Credit 1.4 | Innovation in Design
Credit 2 | LEED Accredited Professional
Note 1: Comparison to LEED™ points is estimated. MSBG requirements
overlap with LEED™ credits, however, following MSBG does not
require, nor automatically result in LEED™ certification.